## Slide 1: EN 319 Experiment no.2
Open and short circuit tests on single phase transformer

## Slide 2
Introduction
Principle of operation and construction
Equivalent circuit
Efficiency
Voltage regulation
OUTLINE

## Slide 3: INTRODUCTION
Used for:
  Transforming the voltage / current levels
  Galvanic isolation / protection
Measurement: Power transformers and high frequency transformers
Static device : No rotating parts-no mechanical losses
Principle of working: electromagnetic induction

## Slide 4: Operating and Construction
Working principle
https://www.youtube.com/watch?v=vh_aCAHThTQ&list=PLuUdFsbOK_8qQ-KKUpZDX3k45vv2DxdB7&index=1
Types of winding
https://www.youtube.com/watch?v=_yRua9HjXI&list=PLuUdFsbOK_8qQ-KKUpZDX3k45vv2DxdB7&index=2
Types of core
https://www.youtube.com/watch?v=XrIXioEn3yQ&list=PLuUdFsbOK_8qQ-KKUpZDX3k45vv2DxdB7&index=3

## Slide 5: Magnetization curve
Results in sinusoid flux

## Slide 6
Waveform of magnetizing current

## Slide 7: Core Losses
and thickness of laminations
is the fundamental frequency of the alternating flux
is the maximum flux density in the core
The other losses in a transformer(normally neglected) are stray load loss and dielectric loss

## Slide 8: Equivalent circuit

## Slide 9: Efficiency
Where x is loading factor (kVA), kVA is name plate rating, cos φ is power factor PCu is full load copper loss and Pi is the constant iron loss.
Condition for max efficiency:
Max efficiency:

## Slide 10: Voltage regulation
UP REGULATION
DOWN REGULATION
DOWN Regulation in terms of circuit impedances
SIGN CONVENTION: +sign for lagging (inductive) pf and
– sign for leading (capacitive) pf
(Remember: Regulation is negative for leading pf !)

## Slide 11: Experiment Details
1 phase ac Input terminal
1 phase ac output terminal
Ac output fuse block
SINGLE PHASE TRANSFORMER
MFD BY: DEEPAK INSTRUMENTS
RATING : 2000VA
*Note the NAME PLATE and fuse ratings
before the expt is conducted

## Slide 12
Name plate details of 1ph transformer
1ph input VARIAC and its
Name plate details
SINGLE PHASE
VARIAC
MFD BY:
VOLTAMP CONTROLS
Transformer (inside
the cabinet)

## Slide 13: OC Test

## Slide 14: SC Test
NOTE: Slowly increase the applied voltage

## Slide 15: Readings
Primary |  | Wattmeter reading(W) | 
Voltage(V) | Current(A) |  | 
OC Test
Sr No. | Percentage loading (x) | Calculated Efficiency (%) |  |  | Calculated Voltage Regulation |  | 
 |  | pf= 1 | pf= 0.8 (lag) | pf= 0.6 (lead) | pf= 1 | pf= 0.6 (lag) | pf= 0.6 (lead)
1 |  |  |  |  |  |  | 
2 |  |  |  |  |  |  | 
Characteristics
SC Test
Primary |  | Wattmeter reading (W) | 
Voltage(V) | Current(A) |  | 

## Slide 16: Lab Reports (1 per batch)
Aim / Objective
Name plate details
Procedure: Mention the steps which you have followed while performing the experiments in your own words.
Properly labelled circuit diagrams in pencil
Readings in tabulated format with current waveforms drawn (pencil)
Sample calculations for equivalent circuit & efficiency and voltage regulation
Graphs of efficiency and regulation variation with loading (x)
Observations , Conclusions
Answers to the questions in the manual
Clearly mention the Date, Batch no., Roll no. and Expt. no. on front sheet.